## signals_list
unique index (varchar) | device_id associated to device_id from device_list (int) | description (varchar) | present_value (varchar) | status_flag (varchar) | time_stamp (timestamp) | topic_pub (varchar) | topic_sub (varchar) | register_address (int) | register_type (holding, input, coils, discrete (varchar) | quantity (int) | bit_string (normal=standart bit order, reverse = reverse bit order) (varchar) | word_number (number word from data array) (int) | bit_number (bit in word) (int) | server_type (varchar) | scale (server_data=read_data/scale) (int)
signal_id | device_id | description | present_value | status_flag | time_stamp | topic_pub | topic_sub | register_address | register_type | quantity | normal | word_number | bit_number | server_type
1 | 2 | 3 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 17 | 18
id_3001 | 10 | room_temp | 24.0004 | normal |  | topic_temp1 |  | 1 | holding | 1 | normal |  |  | float | 10
tt_3002 | 10 | floor_temp | 200 | alarm |  | topic_temp2 |  | 2 | holding | 1 | normal |  |  | int | 50
id_3003 | 10 | speed_fan_1 | 50 | normal |  | speed1 |  | 3 | holding | 1 | normal |  |  | int | 1
id_room | 11 | speed_fan_2 | 40 | normal |  | speed2 |  | 1 | input | 1 | normal |  |  | int | 1
id_40room | 11 | pump_1_status | active | normal |  | pump1 |  | 1001 | input | 1 | normal |  | 1 | bool | 1
number4003 | 11 | pump_2_status | inactive | fault |  | status_pump2 |  | 1001 | input | 1 | normal |  | 4 | bool | 1
id_40roomSub | 99 | pump_11_status | active | normal |  |  | pump11 |  | input | 1 | normal |  |  | bool | 1
number4003Sub | 99 | pump_12_status | inactive | fault |  |  | pump12 |  | input | 1 | normal |  |  | bool | 1

## device_list
unique index (int) | description (varchar) | data protocol (varchar) | state (varchar) active=use device inactive=unuse | ip_addres (varchar) | ip_port (int) | unit_id (int) | com_port (varchar) | baud_rate (int) | stop_bits (int) | parity (varchar) 0=odd 1=even 2=none | time_out (float) | user-name (varchar) | password (vaechar) | token (varchar) | mqtt_data_prefix (varchar)
device_id | description | protocol | state | ip_address | ip_port | unit_id | com_port | baud_rate | stop_bits | parity | time_out | user-name | password | token | mqtt_data_prefix
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
99 | testdevice | mqtt | active | localhost | 1883 | [6 empty] | anyuser | anypass |  | yourdatas
98 | bot | telegram_bot | active | [10 empty] | anytoken
10 | waterfall | modbusTCP | active | 10.21.80.145 | 502
11 | pump_station | modbusRTU | inactive |  |  | 1 | COM4 | 9600 | 1 | 2 | 1.0